Required Erosion Control Measures

Installation/Maintenance Agreement
1.
All erosion control procedures shall be installed to maximize performance.

2.
Erosion control procedures shall be installed according to the timeframe set forth in the current UDC (perimeter controls within 24 hours of land disturbance and non-tracking access drive prior to any land disturbance).

3.
Sediment shall be removed from behind sediment controls once it has reached a depth that is equal to half the control’s height.

4.
Breaks and gaps in sediment controls shall be repaired.  Decomposing straw bales shall be replaced.

5.
All sediment that moves off-site due to construction activity shall be cleaned before the end of the next workday.

6.
All sediment that moves off-site due to storm events shall be cleaned before the end of the next workday.

7.
Non-tracking access drives shall be maintained throughout construction.

8.
All erosion control procedures shall be maintained until site is stabilized.

9.
Final grading and restoration shall comply with the approved grading plan for the subdivision, including any spot elevations that may be shown.

[image: image1]
Agreement:


I hereby certify that I understand the construction site control provisions of the current Wisconsin Uniform Dwelling Code, and that I accept responsibility for carrying out the erosion control plan as approved by the City of Middleton








______________________________		_________________________


Name of Responsible Party				Telephone number





______________________________		_________________________


Signature						Date








Approval





______________________________		_________________________


City of Middleton					Date




















G:\Data\DBases\Forms\Permit\Word\ErosionControl.doc
1 of 1
10/5/2017

